## Slide 1: About the limiting magnitude in optical interferometry and some reseach directions to improve it
OHP 2013
Improving the performances of current and future optical interferometers
Romain G. Petrov
Laboratoire LAGRANGE (OCA-UNS-CNRS)
Avec
S. Lagarde, F. Millour, M. Vannier, S. Rakshit (LAGRANGE), T. Elhalkouj (UCA Marrakech),
Notes: ----- Notes de la réunion (30/05/13 15:11) -----
ok

## Slide 2: Introduction
We need higher limiting magnitudes
We seem stalled around K=10 with the UTs
We can wait for
  detectors to improve ?
  And use off-axis tracking in special cases ?
  A new concept or technology ?
  Or wonder if fainter targets will not be too small ?
But we can also progress on:
Incoherent and coherent data processing
Cophasing and coherencing
Off axis tracking, sky coverage and isopistonic angle
…
There are science programs at higher magnitudes,
for existing and future interferometers!

## Slide 3: Current « common sense »
We process frame by frame and average the results
  Or we average coherent frames
    In both cases, this has the performance of a coherent processing
The limiting magnitude is set by the capacity to detect fringes in one frame (~coherence time), or by the Fringe Tracker
The limiting magnitude of any higher spectral resolution is set by the Fringe Tracker limit
Fringe Tracker on sources fainter than K=10-11 needs is very uncertain.
Fainter sources would need much longer baselines.

## Slide 4: Coherent, incoherent, intermediate
Coherent integration of short exposures
  Works weel when SNR>1
Incoherent integration
  When SNRframe<1,
    varies like SNR2 n1/2
  Should be very innefficient
  BUT

## Slide 5: Blind mode observing and 2DFT processing
K=4
K=8.5
K=10
Notes: Courbes de SNR, notamment pour 4 telescopes.

## Slide 6: Fringe peak monitoring and piston tracking

## Slide 7: <|2DFT|2> processing
<|2DFT|2> processing is:
  A coherent addition of all spectral channels
  An incoherent addition of 2D power or cross-spectra

## Slide 8: TF2D measurement of complex coherent flux
FT2D( ) * FT2D( )* =>
Cross spectrum at s yields:
Where Wij(s) is the “object” to be measured and calibrated:
if we have the Exact measure of piston pa:
Notes: On peut passer rapidement… Il y a des estimateurs de visibilité et de phase différentielle qui se moyennent

## Slide 9: 3C273 results
Differential visibility
The BLR gas extends beyond the inner dust rim
Differential phase
  F=0±1°

## Slide 10: Résultat MR à K~10 Résolution de la BLR du Quasar 3C273
La BLR est plus étendue que le bord intérieur du tore de poussière
Ce n’est pas un disque fin
  Angle d’ouverture >90°
Masse du trou noir central:
65±10 108 Msol
(>>Kaspi 2000: 2 108 Msol)
Petrov et al., SPIE 2012 et Petrov et al., 2013
-1000 Km/s
1000 Km/s
4000 Km/s
2000 Km/s
0 Km/s
-2000 Km/s
-3000 Km/s
-4000 Km/s
3000 Km/s
milliarcseconds
0
1
-1
0
1
-1
0
1
-1
0
1
-1
0
1
-1
0
1
-1
milliarcseconds
North
East
Distribution d’intensité de la BLR dans chaque canal spectral

## Slide 11: performance of <|2DFT|2> processing
With AMBER and its current
detector: Ron=11e-

## Slide 12: Optimizing spectro-interferometry for 2DFT
K=4
K=8.5
K=10
Notes: Courbes de SNR, notamment pour 4 telescopes.

## Slide 13: Saving pixels in spectro-interferometry
32 pixels/channel
12 pixels/channel
4 pixels/channel

## Slide 14: performance of <|2DFT|2> processing
1: current standard AMBER processing, MR=1500
2: <|2DFT|2> processing with current AMBER
3: <|2DFT|2> processing with improved AMBER but current detector (11e-)
4: <|2DFT|2> processing with new instrument and SELEX detector (3e-)
1
2
3
4

## Slide 15: An observing program for high magnitudes
X : differential phase from Rin diameter
(IR reverberation mapping, extrapolated)
O : differential phase from RM radius
(Hb RM extrapolated)
* : differential visibility from Rin and RBLR<<Rin

## Slide 16: Hierarchical cophasing
Pair-wise: each 2T fringe tracker receives 2*(1/(NT-1)) photons
All in one: noise
(NT*(n*+nth)+aNB2sR2)0.5 on n*V peaks.
Hierarchical: each FT receives > 2(n*/2) photons
Global SNR increases with NT
Sensitivity limit set by size of unit telescope
(Elhalkouj, 2006, 2008)
Notes: On peut envisager de sauter ça

## Slide 17: Dream cophasing
A
B
C
T1
T2
When T1 and T2 cophased, « all » flux is transmitted.
The beam C behaves like a spatial filtered beam from a cophased telescope
When T1 and T2 are out of phase, the flux in A, B and C allows to compute the piston
All the flux from T1 and T2 is used to cophase them
Notes: Il faudrait mettre la dessus les plots A(delta,alpha), B(delta,alpha), C(delta,alpha).

## Slide 18: Dream cophasing
Each cophased pair behaves as a single telescope
0A12
0B12
0T1
0T2
0A34
0B34
0T3
0T4
0C12=1T1
0C34=1T2
1A12
1B12
1C12
Notes: Il faudrait mettre la dessus les plots A(delta,alpha), B(delta,alpha), C(delta,alpha).

## Slide 19: Dream Cophasing
1T1=0C12
1T2=0C34
0A12
0B12
0T1
0T2
0A34
0B34
0T3
0T4
1A12
1B12
0A67
0B67
0T6
0T7
1A34
1B34
0T5
1T3=0T5
1T4=0C67
2A12
2B12
2C12
2T1=1C12
2T2=1C34
For the first level, the SNR is the maximun one for 2T
For the lower pairs, the SNR increases
Each FT drives one delay line
2A12 , 2B12 , 2C12  2d12 , 1C12 , 1C34
iAlk , iBlk , iClk  idlk , i-1Clk , i-1Clk
……
L1= 0
L2= L1+0d12
L3= 1d12
L4= L3+0d34
L5= 2d12
L6= L5+1d34
L7= L6+0d67
Notes: Le mode de calcul entraîne une propagation de bruit à partir de 2C12, qui est aussi le signal à plus fort RSB. Même si on perdu tous les cophasage, le dernier FS reçoit au moins la moitié de tous les flux, mais est ce que c’est un flux cohérent ? Tel quel, ou avec un filtre spatial supplémentaire?
Par ailleurs, que se passe t’il quand on injecte un faisceau plus ou moins incohérent dans un filtre spatial? En principe une perte de taux de couplage (c’est à dire que le flux va en A ou B).
Peut on dire que ce qui est transmis par une grille est la partie cohérente du flux en amont.
Il faudra un correcteur de dispersion atmosphérique pour chaque faisceau

## Slide 20: Could it work?
C (68%)
A
B
A
B
microns
microns
C
B-A
A
B
Notes: Il faudrait mettre la dessus les plots A(delta,alpha), B(delta,alpha), C(delta,alpha).

## Slide 21: And after ?
Cophasing at K>13, provides a ~1% sky coverage (in galactic pole direction) for off-axis guiding
Cophasing at K>13, in Dôme C, provides a 10% to 30% in Dôme C, with 2-3 class telescopes (from the ground)
  Dôme C is dead, but Dôme A …
A tomography of the local wavefront, from laser guide stars or from natural stars, could allow to compute the exact contribution of each telescope to the piston error and hence increase the (synthetic) isopistonic domain…
What about off-axis coherencing ?
  Stabilizing the piston within 2 mm would allow 2DFT processing with spectral resolution <100
    Almost LR; K>16…
What about 3DFT ?
  It would replace the coherence time of the piston, by this of its derivative
…

## Slide 22: Conclusion
We need an active research on limiting magnitude in interferometry
  Optimization of parameters from better atmospheric optics and interferometer models.
  How far can we push 2DFT processing
    How could it apply to GRAVITY, and MATISSE
  What is the minimum spectral resolution allowing this mode
  How to push the limits for cophasing
  How to increase the isopistonic domain
  What off-axis coherencing makes sense
  What is the sky coverage for off axis cophasing
  What science program and what baselines for K>13
  …